## LBCB1
LDT
| X1 | cartesian slider | reading | porportion gain | integral gain | differential gain
0.05 | short | -9.976 | -0.0626 | -100 | 5 | -5.5
| long | 10.426 | 10.324
0.225
LDT
| X2 | cartesian slider | reading | porportion gain | integral gain | differential gain
0.05 | short | -10.071 | -0.0391 | -100 | 5 | -5 | higher
| long | 10.21 | 10.377 |  |  |  | noise
0.0695
LDT
| Y | cartesian slider | reading | porportion gain | integral gain | differential gain
| short | -4.989 | 0.0282 | -80 | 5 | -5
| long | 5.06 | 10.4974
0.0355
LDT
| Z1 | cartesian slider | reading | porportion gain | integral gain | differential gain
| short | -5.045 | -0.0785 | -65 | 5 | -5
| long | 5.257 | 10.463
0.106
LDT
| Z2 | cartesian slider | reading | porportion gain | integral gain | differential gain
| short | -4.925 | 0.0134 | -70 | 5 | -5
| long | 5.1 | 10.401
0.0875
LDT
| Z3 | cartesian slider | reading | porportion gain | integral gain | differential gain
| short | -4.931 | -0.023 | -75 | 5 | -5
| long | 5.143 | 10.393
0.106
Comment
Next time we have a service call, having shorewestern to make Cartesian slider in %FS would be good
When have a service call, make sure the commands will not be saturated
Leaking problem at the location between two x actuators

## LBCB2
LDT
X1 | cartesian slider | reading | porportion gain | integral gain | differential gain
short |  | -0.0574 | -100 | 5 | -5
long |  | 10.446
LDT
X2 | cartesian slider | reading | porportion gain | integral gain | differential gain
short |  | -0.035 | -100 | 5 | -5
long |  | 10.31
LDT
Y | cartesian slider | reading | porportion gain | integral gain | differential gain
short |  | 10.404 | -80 | 5 | -5
long |  | 0.009
LDT
Z1 | cartesian slider | reading | porportion gain | integral gain | differential gain
short |  | -0.073 | -65 | 5 | -5
long |  | 10.277
LDT
Z2 | cartesian slider | reading | porportion gain | integral gain | differential gain
short |  | -0.0416 | -70 | 5 | -5
long |  | 10.33
LDT
Z3 | cartesian slider | reading | porportion gain | integral gain | differential gain
short |  | -0.046 | -75 | 5 | -5
long |  | 10.22
Comments
x2-actuator had a problem with jumps in the first few cycles when applying step function