## Displacement Cals
X1 |  |  | X2
Cmd Volts | LVDT Reading Volts | Caliper Reading inches | Cmd Volts | LVDT Reading Volts | Caliper Reading inches
0 | -0.10181 | 3.6245 | 0 | -0.19722 | 3.6415
1 | -1.1055 | 3.35 | 1 | -1.2001 | 3.3605
2 | -2.1077 | 3.083 | 2 | -2.2031 | 3.084
3 | -3.1097 | 2.8125 | 3 | -3.206 | 2.8125
2 | -2.1026 | 3.0915 | 2 | -2.1951 | 3.093
1 | -1.0997 | 3.3535 | 1 | -1.1911 | 3.3475
0 | -0.096734 | 3.627 | 0 | -0.18824 | 3.615
-1 | 0.90589 | 3.8975 | -1 | 0.81439 | 3.889
-2 | 1.9082 | 4.163 | -2 | 1.817 | 4.1565
-3 | 2.9112 | 4.4345 | -3 | 2.8193 | 4.4225
-2 | 1.9039 | 4.164 | -2 | 1.8086 | 4.1565
-1 | 0.90112 | 3.897 | -1 | 0.80568 | 3.877
0 | -0.10164 | 3.6265 | 0 | -0.19687 | 3.615
New Slope: | -0.27005 | 0.2692 | New Slope: | -0.26737 | 0.26642
| in/cmd | in/LVDT |  | in/cmd | in/LVDT
R-squared value | 0.99996 | 0.99997 | R-squared value | 0.99971 | 0.99969
Previous Slopes: | -0.26889 | 0.26774 | Previous Slopes: | -0.2682 | 0.26755
Delta | -0.0011579 | 0.0014686 | Delta | 0.00083582 | -0.001128
% Difference | -0.4297% | -0.547% | % Difference | 0.3121% | 0.4225%
Y1 |  |  | Z1
Cmd Volts | LVDT Reading Volts | Caliper Reading inches | Cmd Volts | LVDT Reading Volts | Caliper Reading inches
0 | -0.18217 | 2.681 | 0 | 0.099637 | 2.779
1 | -1.1812 | 2.5545 | 1 | -0.89237 | 2.618
2 | -2.1781 | 2.419 | 2 | -1.8855 | 2.4895
3 | -3.1722 | 2.281 | 3 | -2.8793 | 2.3465
2 | -2.1617 | 2.417 | 2 | -1.8818 | 2.4865
1 | -1.1657 | 2.559 | 1 | -0.88794 | 2.6485
0 | -0.19656 | 2.6925 | 0 | 0.1055 | 2.7535
-1 | 0.82478 | 2.835 | -1 | 1.0995 | 2.8875
-2 | 1.8222 | 2.956 | -2 | 2.0942 | 3.022
-3 | 2.8186 | 3.102 | -3 | 3.0895 | 3.1565
-2 | 1.8081 | 2.958 | -2 | 2.092 | 3.022
-1 | 0.81067 | 2.817 | -1 | 1.0976 | 2.929
0 | -0.18537 | 2.6895 | 0 | 0.1033 | 2.7515
New Slope: | -0.13572 | 0.1361 | New Slope: | -0.13463 | 0.13537
| in/cmd | in/LVDT |  | in/cmd | in/LVDT
R-squared value | 0.99952 | 0.99956 | R-squared value | 0.9963 | 0.99626
Previous Slopes: | -0.13434 | 0.13501 | Previous Slopes: | -0.13429 | 0.1352
Delta | -0.0013795 | 0.0010846 | Delta | -0.00033926 | 0.00017667
% Difference | -1.022% | -0.8001% | % Difference | -0.2523% | -0.1306%
Z2 |  |  | Z3
Cmd Volts | LVDT Reading Volts | Caliper Reading inches | Cmd Volts | LVDT Reading Volts | Caliper Reading inches
0 | 0.18516 | 2.688 | 0 | -0.16326 | 2.6145
1 | -0.81427 | 2.559 | 0.5 | -0.65946 | 2.407
2 | -1.8092 | 2.4335 | 1 | -1.1596 | 2.2015
3 | -2.8034 | 2.302 | 1.5 | -1.6543 | 1.992
2 | -1.7942 | 2.435 | 1 | -1.1501 | 2.225
1 | -0.79921 | 2.561 | 0.5 | -0.65246 | 2.419
0 | 0.19516 | 2.689 | 0 | -0.15526 | 2.6275
-1 | 1.1913 | 2.815 | -0.5 | 0.3395 | 2.8275
-2 | 2.1875 | 2.948 | -1 | 0.83879 | 3.0095
-3 | 3.1826 | 3.0905 | -1.5 | 1.3348 | 3.2195
-2 | 2.1738 | 2.9465 | -1 | 0.83219 | 3.009
-1 | 1.1775 | 2.817 | -0.5 | 0.33329 | 2.8
0 | 0.18128 | 2.688 | 0 | -0.1626 | 2.597
New Slope: | -0.12972 | 0.13017 | New Slope: | -0.40358 | 0.40546
| in/cmd | in/LVDT |  | in/cmd | in/LVDT
R-squared value | 0.99967 | 0.9997 | R-squared value | 0.999 | 0.99918
Previous Slopes: | -0.12548 | 0.12608 | Previous Slopes: | -0.40649 | 0.40891
Delta | -0.0042395 | 0.0040911 | Delta | 0.0029091 | -0.0034446
% Difference | -3.322% | -3.193% | % Difference | 0.7182% | 0.846%

## SW Cmd Cals
| Full Extension |  | Full Retraction
| %FS | LVDT Volts | %FS | LVDT Volts
X1 | -71.23 | 7.403 | 73.61 | -7.592
X2 | -70.51 | 7.36 | 75.24 | -7.748
Y1 | -70.55 | 7.315 | 74.44 | -7.64
Z1 | -72.44 | 7.44 | 70.41 | -7.22
Z2 | -77.79 | 7.951 | 73.2 | -7.548
Z3 | -21.7 | 2.24 | 25.32 | -2.55
The concept is to set up a SW command calibration that aligns with the mechanical limits of the LBCB so that the zero volt mid-stroke is the came as mechanical mid-stroke.
1. Set the SW command calibration to the default.
2. Locate the mechanical limits of the actuator in %FS.
3. Set a new command calibration with the two limit points.