## Displacement Cals
| X1 |  |  | X2 |  |  | Offsets
| Cmd Volts | LVDT Reading Volts | Cal Sensor inches | Cmd Volts | LVDT Reading Volts | Cal Sensor inches | X1 | 0
0 | 0 | 5.0526 | 3.0944 | 0 | 5.0448 | 3.5593 | X2 | 0
0.5 | 0.5 | 4.5553 | 2.1432 | 0.5 | 4.5405 | 2.5838 | Y1 | 0
1 | 1 | 4.0626 | 1.1811 | 1 | 4.0387 | 1.6051 | Z1 | 3
1.5 | 1.5 | 3.5579 | 0.21168 | 1.5 | 3.5376 | 0.61184 | Z2 | 3
1 | 1 | 4.0568 | 1.1868 | 1 | 4.036 | 1.612 | Z3 | 3
0.5 | 0.5 | 4.5566 | 2.1484 | 0.5 | 4.5353 | 2.5886
0 | 0 | 5.0565 | 3.105 | 0 | 5.0369 | 3.5602
-0.5 | -0.5 | 5.5565 | 4.069 | -0.5 | 5.5484 | 4.5466
-1 | -1 | 6.0559 | 5.0439 | -1 | 6.0529 | 5.5273
-1.5 | -1.5 | 6.5618 | 5.9707 | -1.5 | 6.5556 | 6.088
-1 | -1 | 6.0586 | 5.041 | -1 | 6.0534 | 5.5252
-0.5 | -0.5 | 5.5709 | 4.0658 | -0.5 | 5.5469 | 4.5428
0 | 0 | 5.056 | 3.1012 | 0 | 5.0482 | 3.5568
| New Slope: | -1.9239 | 1.9221 | New Slope: | -1.8956 | 1.882
|  | in/cmd | in/LVDT |  | in/cmd | in/LVDT
| R-squared value | 0.99997 | 0.99994 | R-squared value | 0.99649 | 0.99644
| Previous Slopes: | -1.9572 | 1.9242 | Previous Slopes: | -1.9705 | 1.9512
| Delta | 0.033284 | -0.0021276 | Delta | 0.07495 | -0.069275
| % Difference | 1.715% | 0.1106% | % Difference | 3.877% | 3.614%
| Y1 |  |  | Z1
| Cmd Volts | LVDT Reading Volts | Cal Sensor inches | Cmd Volts | LVDT Reading Volts | Cal Sensor inches
0 | 0 | 4.9541 | 2.6795 | 3 | 1.9449 | 2.1814 | 1.4446 | 1.4773
0.5 | 0.5 | 4.4623 | 2.194 | 3.5 | 1.4584 | 1.6872 | 2.9458 | 2.8916
1 | 1 | 3.9717 | 1.718 | 4 | 0.97301 | 1.1864
1.5 | 1.5 | 3.4822 | 1.2315 | 4.5 | 0.48852 | 0.68117
1 | 1 | 3.9717 | 1.7206 | 4 | 0.97475 | 1.1904
0.5 | 0.5 | 4.4618 | 2.1958 | 3.5 | 1.4595 | 1.6917
0 | 0 | 4.9523 | 2.6802 | 3 | 1.9445 | 2.1822
-0.5 | -0.5 | 5.4432 | 3.1556 | 2.5 | 2.4304 | 2.679
-1 | -1 | 5.9356 | 3.6346 | 2 | 2.9163 | 3.1681
-1.5 | -1.5 | 6.428 | 4.1231 | 1.5 | 3.4034 | 3.6614
-1 | -1 | 5.9352 | 3.6338 | 2 | 2.915 | 3.1662
-0.5 | -0.5 | 5.4428 | 3.1539 | 2.5 | 2.4289 | 2.6763
0 | 0 | 4.9507 | 2.6785 | 3 | 1.9432 | 2.1795
| New Slope: | -0.96075 | 0.97856 | New Slope: | -0.99115 | 1.0205
|  | in/cmd | in/LVDT |  | in/cmd | in/LVDT
| R-squared value | 0.99998 | 0.99998 | R-squared value | 0.99997 | 0.99997
| Previous Slopes: | -0.98295 | 0.97597 | Previous Slopes: | -0.9964 | 0.99664
| Delta | 0.022203 | 0.0025872 | Delta | 0.0052422 | 0.023871
| % Difference | 2.285% | -0.2647% | % Difference | 0.5275% | -2.367%
| Z2 |  |  | Z3
| Cmd Volts | LVDT Reading Volts | Cal Sensor inches | Cmd Volts | LVDT Reading Volts | Cal Sensor inches
| 3 | 2.0256 | 2.8559 | 3 | 2.0519 | 1.9113
| 3.5 | 1.5395 | 2.3815 | 3.5 | 1.5653 | 1.4255
| 4 | 1.0419 | 1.9066 | 4 | 1.0682 | 0.9361
| 4.5 | 0.54497 | 1.4181 | 4.5 | 0.57007 | 0.442
| 4 | 1.0436 | 1.9088 | 4 | 1.069 | 0.94043
| 3.5 | 1.5383 | 2.3832 | 3.5 | 1.567 | 1.4289
| 3 | 2.0388 | 2.8681 | 3 | 2.0651 | 1.9156
| 2.5 | 2.5369 | 3.3448 | 2.5 | 2.5634 | 2.3904
| 2 | 3.0356 | 3.8239 | 2 | 3.0618 | 2.8763
| 1.5 | 3.5349 | 4.3159 | 1.5 | 3.5589 | 3.3542
| 2 | 3.0345 | 3.8237 | 2 | 3.0601 | 2.8741
| 2.5 | 2.5353 | 3.3439 | 2.5 | 2.5611 | 2.3866
| 3 | 2.0365 | 2.8665 | 3 | 2.0623 | 1.9113
| New Slope: | -0.96219 | 0.96557 | New Slope: | -0.96878 | 0.97244
|  | in/cmd | in/LVDT |  | in/cmd | in/LVDT
| R-squared value | 0.99997 | 0.99998 | R-squared value | 0.99996 | 0.99993
| Previous Slopes: | -0.98256 | 0.97106 | Previous Slopes: | -0.9738 | 0.96773
| Delta | 0.020365 | -0.0054958 | Delta | 0.0050174 | 0.0047097
| % Difference | 2.094% | 0.5676% | % Difference | 0.5166% | -0.4855%
Check Y1 Slope to determine Z Actuator safe offset.

## SW Cmd Cals
| Full Extension |  | Full Retraction |  |  | Mid-Point
| %FS | LVDT Volts | %FS | LVDT Volts | Inches | %FS | LVDT Volts | Inches | Expected | 5.937 | -0.013 | 48.5
X1 | -99.35 | 10.3202 | 0.9 | -0.09299 | [5 empty] | 5.95 |  | 48.6
X2 | -98.39 | 10.237 | 0.45 | -0.050712 | [7 empty] | 48.65
Y1 | -99 | 10.12 | 1.31 | -0.1043 | 1.03 | 0 | 4.9615 | 6.03 |  | 5.97 |  | -48.8
Z1 |  |  | 0.09 | -0.016353 | 1.03 | -48.58 | 4.8706 | 6.03 | 6.03 | 6.02 |  | -49.5
Z2 |  |  | 1.15 | -0.10028 | 1.03 | -48.4 | 5.0345 | 6.03 |  |  |  | -49
Z3 |  |  | 0.26 | -0.021731 | 1 | -49 | 5.0625 | 6 | 6
The concept is to set up a SW command calibration that aligns with the mechanical limits of the LBCB so that the zero volt mid-stroke is the came as mechanical mid-stroke.
1. Set the SW command calibration to the default.
2. Locate the mechanical limits of the actuator in %FS.
3. Set a new command calibration with the two limit points.
For this particular calibration, we have a specimen in the way that prevents us from fully extending the Z actuators. For this reason we measure the full retracted and mid-point positions of the Y actuator and then use those measurements to establish the mechanical mid-point of the Z actuators.