## Displacements
Dan Borello, Tim Gregor
2011-05-05
Actuator calibrations of User Studio 1 LBCB in the operations manager for one box control
Calibration data in actuator space using Aditiya's software
X1 Dir.
| # | Command | Measured LDT | Caliper | Gage
|  | voltage, (v) | voltage, (v) | Reading, (in.) | Length, (in.)
| 1 | 0 | -0.025 | 2.81 | 0.025
| 2 | 2.5 | -2.5269 | 2.137 | -0.648
| 3 | 5 | -5.029 | 1.4655 | -1.3195
| 4 | 6.5 | -6.5292 | 1.068 | -1.717
| 5 | 3.5 | -3.5287 | 1.8695 | -0.9155
| 6 | 0 | -0.025 | 2.81 | 0.025
| 7 | -2.5 | 2.4796 | 3.4875 | 0.7025
| 8 | -3.5 | 3.481 | 3.7575 | 0.9725
| 9 | -5 | 4.9844 | 4.1605 | 1.3755
| 10 | -6.5 | 6.4867 | 4.5605 | 1.7755
| 11 | -7.35 | 7.342 | 4.7845 | 1.9995
| 12 | 7.55 | -7.581 | 0.789 | -1.996
Note: Gage length was measured using digital calipers
1.119
X2 Dir.
| # | Command | Measured LDT | Caliper | Gage
|  | voltage, (v) | voltage, (v) | Reading, (in.) | Length, (in.)
| 1 | 0 | -0.041785 | 2.677 | -0.067
| 2 | 2 | -2.0481 | 2.129 | -0.615
| 3 | 4 | -4.0461 | 1.5895 | -1.1545
| 4 | 6 | -6.048 | 1.01 | -1.734
| 5 | 7.15 | -7.203 | 0.7475 | -1.9965
| 6 | 0 | -0.0463 | 2.6765 | -0.0675
| 7 | -2 | 1.958 | 3.221 | 0.477
| 8 | -4 | 3.9626 | 3.7635 | 1.0195
| 9 | -6 | 5.674 | 4.301 | 1.557
| 10 | -7 | 6.9705 | 4.59 | 1.846
| 11 | 1 | -1.0447 | 2.4035 | -0.3405
Note: Gage length was measured using digital calipers
Y1 Dir.
| # | Command | Measured LDT | Caliper | Gage
|  | voltage, (v) | voltage, (v) | Reading, (in.) | length, (in)
| 1 | 0 | 0.0038 | 1.749 | 0.0065
| 2 | 2 | -1.9874 | 1.476 | -0.2665
| 3 | 4 | -3.9767 | 1.199 | -0.5435
| 4 | 6 | -5.965 | 0.933 | -0.8095
| 5 | 7.45 | -7.411 | 0.755 | -0.9875
| 6 | 0 | 0.0016 | 1.754 | 0.0115
| 7 | -2 | 1.9935 | 1.989 | 0.2465
| 8 | -4 | 3.9845 | 2.287 | 0.5445
| 9 | -6 | 5.977 | 2.555 | 0.8125
| 10 | -7.3 | 7.286 | 2.7095 | 0.967
| 11 |  |  |  | -1.7425
Note: Gage length was measured using digital calipers
Z1 Dir. | # | Command | Measured LDT | Caliper | Gage
|  | voltage, (v) | voltage, (v) | Reading, (in.) | length, (in)
| 1 | 0 | 0 | 1.8065 | -0.008
| 2 | 2 | -2.0015 | 1.5355 | -0.279
| 3 | 4 | -4.001 | 1.2605 | -0.554
| 4 | 6 | -6.001 | 0.9975 | -0.817
| 5 | 7.3 | -7.3 | 0.857 | -0.9575
| 6 | 0 | -0.001 | 1.8045 | -0.01
| 7 | -2 | 2.0005 | 2.077 | 0.2625
| 8 | -4 | 4.002 | 2.3615 | 0.547
| 9 | -6 | 6.007 | 2.619 | 0.8045
| 10 | -7.4 | 7.412 | 2.806 | 0.9915
| 11 |  |  |  | -1.8145
Note: Gage length was measured using digital calipers
Z2 Dir.
| # | Command | Measured LDT | Caliper | Gage
|  | voltage, (v) | voltage, (v) | Reading, (in.) | length, (in)
| 1 | 0 | -0.0201 | 1.7785 | -0.031
| 2 | 2 | -2.0436 | 1.5045 | -0.305
| 3 | 4 | -4.0655 | 1.242 | -0.5675
| 4 | 6 | -6.0883 | 0.9785 | -0.831
| 5 | 7 | -7.0991 | 0.8465 | -0.963
| 6 | 0 | -0.1905 | 1.7465 | -0.063
| 7 | -2 | 2.005 | 2.0405 | 0.231
| 8 | -4 | 4.03 | 2.309 | 0.4995
| 9 | -6 | 6.056 | 2.575 | 0.7655
| 10 | -7 | 7.0697 | 2.71 | 0.9005
| 11 |  |  |  | -1.8095
Note: Gage length was measured using digital calipers
| # | Command | Measured LDT | Caliper | Gage
|  | voltage, (v) | voltage, (v) | Reading, (in.) | length, (in)
Z3 Dir. | 1 | 0 | -0.0166 | 1.8515 | 0.0425
| 2 | 2 | -2.0222 | 1.5875 | -0.2215
| 3 | 4 | -4.0273 | 1.3225 | -0.4865
| 4 | 6 | -6.032 | 1.06 | -0.749
| 5 | 7.9 | -7.9405 | 0.81 | -0.999
| 6 | 0 | -0.0178 | 1.8525 | 0.0435
| 7 | -2 | 1.9916 | 2.116 | 0.307
| 8 | -4 | 4.0008 | 2.3825 | 0.5735
| 9 | -6 | 6.0088 | 2.641 | 0.832
| 10 | -7.25 | 7.2685 | 2.8055 | 0.9965
| 11 |  |  |  | -1.809
Note: Gage length was measured using digital calipers

## Load Sensitivitiy
Ray, Michael, & Tim
2010-09-07
Actuator calibrations of Crane Bay LBCB 3 in the operations manager for one box control
Calibration data in actuator space using Aditiya's software
X1 Dir.
| # | Command | Measured LC | Calibrated LC
|  | v | v | lbs
| 1 | 4.4322 | -0.042189 | 3.5
| 2 | 4.42 | -0.054682 | 16
| 3 | 4.4 | -0.11368 | 73
| 4 | 4.35 | -0.3148 | 269.6
| 5 | 4.32 | -0.37791 | 331.7
| 6 | 4.35 | -0.33097 | 285.8
| 7 | 4.4 | -0.11655 | 76.3
| 8 | 4.4322 | -0.032444 | -4.6
| 9 | 4.45 | -0.0089656 | -26.9
| 10 | 4.49 | 0.024454 | -59.7
| 11 | 4.55 | 0.15909 | -191
| 12 | 4.44 | -0.025361 | -9
| 13 | 4.42 | -0.063468 | 28
| 14 | 4.4 | -0.12632 | 88
| 15 | 4.32 | -0.48712 | 444 | 351
| 16 | 4.28 | -0.66611 | 618
| 17 | 4.25 | -0.79868 | 750
| 18 | 4.22 | -0.92413 | 874
| 19 | 4.44 | -0.009931 | -16
| 20 | 4.52 | 0.12615 | -150
| 21 | 4.6 | 0.48278 | -501
| 22 | 4.65 | 0.63202 | -650
| 23 | 4.7 | 0.70598 | -724
Note: Tension is read as negative
X2 Dir.
| # | Command | Measured LC | Calibrated LC
|  | v | v | lbs
| 1 | 4.14 | 0.022398 | -20.2
| 2 | 4.07 | -0.064148 | 67.3
| 3 | 4 | -0.3109 | 317
| 4 | 4.092 | -0.0032442 | 5.5
| 5 | 4.2 | 0.035915 | -34
| 6 | 4.3 | 0.06036 | -58
| 7 | 4.4 | 0.053247 | -50
| 8 | 4.482 | 0.22378 | -218.5
| 9 | 4.112 | 0.013978 | -12
| 10 | 4.2 | 0.033693 | -32
| 11 | 4.4 | 0.074155 | -70.5
| 12 | 4.7 | 0.78784 | -775
| 13 | 4.114 | 0.0045322 | -1.2
| 14 | 3.9312 | -0.71832 | 725
| 15 | 3.8945 | -0.91245 | 918
Note: Tension is read as negative
Y1 Dir.
| # | Command | Measured LC | Calibrated LC
|  | v | v | lbs
| 1 | 5.85 | -0.01552 | 15.1
| 2 | 5.8051 | -0.27088 | 260
| 3 | 5.57 | -0.42728 | 410
| 4 | 5.86 | -0.13007 | 124
| 5 | 5.935 | -0.0079343 | 8.7
| 6 | 5.95 | 0.0111 | -9.4
| 7 | 6.095 | 0.15459 | -143.2
| 8 | 6.2 | 0.2344 | -217.4
| 9 | 5.93 | 0.0064461 | -2.5
| 10 | 5.93 | 0.00039981 | 2.8
| 11 | 5.97 | 0.030509 | -26.1
| 12 | 6.2 | 0.44567 | -413
| 13 | 5.57 | -0.43948 | 425
| 14 | 5.4 | -0.65758 | 634
| 15 | 5.3 | -0.83761 | 803
Note: Tension is read as negative
Z1 Dir.
| # | Command | Measured LC | Calibrated LC
|  | v | v | lbs
| 1 | 4.335 | -0.049424 | -19.2
| 2 | 5.0061 | 0.15789 | -229.5
| 3 | 4.335 | -0.040821 | -27.4
| 4 | 4.1095 | -0.45735 | 396.2
| 5 | 4.335 | -0.10282 | 35.5
| 6 | 4.335 | -0.06757 | -0.5
| 7 | 4.428 | 0.31074 | -385
| 8 | 4.5024 | 0.49939 | -575.9
| 9 | 4.6 | 0.64067 | -718.7
| 10 | 4.335 | -0.10705 | 41.3
| 11 | 4.2078 | -0.96435 | 911.7
| 12 | 4.2495 | -0.62402 | 566.6
| 13 | 4.335 | -0.11746 | 52.7
Note: Tension is read as negative
Z2 Dir. | # | Command | Measured LC | Calibrated LC
|  | v | v | lbs
| 1 | 6.1858 | -0.027926 | -11
| 2 | 6.2575 | 0.15918 | -198.5
| 3 | 6.4 | 0.18568 | -224.5
| 4 | 6.18 | -0.028385 | -9.3
| 5 | 6.138 | -0.23963 | 203.4
| 6 | 6.1138 | -0.34965 | 313.1
| 7 | 6.182 | -0.047607 | 9.8
| 8 | 6.2127 | 0.33173 | -372
| 9 | 6.247 | 0.53205 | -572
| 10 | 6.35 | 0.70933 | -749
| 11 | 6.0932 | -0.61965 | 585
| 12 | 6.07 | -0.79309 | 759
| 13 | 6.05 | -0.92429 | 890
Note: Tension is read as negative
Z3 Dir.
| # | Command | Measured LC | Calibrated LC
|  | v | v | lbs
| 1 | 6.4224 | 0.020359 | -14.2
| 2 | 6.45 | 0.12396 | -118.5
| 3 | 6.46 | 0.15823 | -152.8
| 4 | 6.5 | 0.2086 | -203.2
| 5 | 6.4224 | 0.019596 | -13.6
| 6 | 6.3681 | -0.23891 | 247.3
| 7 | 6.35 | -0.32166 | 330.5
| 8 | 6.4943 | 0.45234 | -448.4
| 9 | 6.5598 | 0.61467 | -611.4
| 10 | 6.9 | 0.76759 | -762.4
| 11 | 6.4 | -0.57362 | 587.3
| 12 | 6.368 | -0.79344 | 809.4
| 13 | 6.3511 | -0.91326 | 930.6
Note: Tension is read as negative

## Displacement Coarse
|  | %FS | Caliper Reading (in.)
X1 Calibration | Extension |  | 4.789
| Retraction |  | 0.781
| Range |  | 4.008
X2 Calibration | Extension |  | 4.746
| Retraction |  | 0.742
| Range |  | 4.004
Y1 Calibration | Extension |  | 2.743
| Retraction |  | 0.742
| Range |  | 2.001
Z1 Calibration | Extension |  | 2.813
| Retraction |  | 0.816
| Range |  | 1.997
Z2 Calibration | Extension |  | 2.807
| Retraction |  | 0.812
| Range |  | 1.995
Z3 Calibration | Extension |  | 2.813
| Retraction |  | 0.805
| Range |  | 2.008

## Servo Offsets
Tim Gregor
2011-05-11
Actuator | Servo Errors | Avg. Servo Error
X1 | 0.0094939 | 0.010182
0.011014
0.010294
0.010854
0.0092539
X2 | 0.11625 | 0.11658
0.11713
0.11505
0.11729
0.11721
Y1 | 0.052223 | 0.05112
0.050944
0.052863
0.049824
0.049744
Z1 | 0.0064278 | 0.0079632
0.019623
0.034018
0.0019493
-0.022202
Z2 | 0.06614 | 0.066332
0.0651
0.06734
0.06614
0.06694
Z3 | 0.040166 | 0.037958
0.037047
0.038886
0.036327
0.037366

## Load Cell Shunt Cal
Original Calibrated System
Actuator | Zero | Positive | Negative | Zero | Positive | Negative
| Load Cell Volts | Load Cell Volts | Load Cell Volts | Force Reading | Force Reading | Force Reading | Slope
X1 | -0.00021737 | 0.73342 | -0.73465 | 0.48991 | -716.595 | 717.418 | -976.8001
X2 | 0.01492 | 0.75301 | -0.71662 | 6.028 | -731.001 | 736.59 | -998.6125
Y1 | 0.019369 | 0.75163 | -0.71249 | 0.36088 | -696.704 | 696.968 | -951.8785
Z1 | -0.012488 | 0.71288 | -0.74809 | 8.3717 | -729.918 | 755.685 | -1016.8571
Z2 | -0.0095116 | 0.72159 | -0.73997 | 2.195 | -732.331 | 736.48 | -1004.9645
Z3 | 0.018453 | 0.74535 | -0.70893 | 3.346 | -730.029 | 736.479 | -1008.4048
Current System
| Zero | Positive | Negative | Zero | Positive | Negative
| Load Cell Volts | Load Cell Volts | Load Cell Volts | Force Reading | Force Reading | Force Reading | Slope | Offset Volts with high pressure
X1 | -0.012392 | 5.0994 | -5.1172 | 0.48991 | -716.595 | 717.418 | -140.3615 | -0.0048987
X2 | 0.044335 | 5.3601 | -5.0779 | 6.028 | -731.001 | 736.59 | -140.588 | 0.014701
Y1 | -0.0015067 | 5.7537 | -5.7291 | 0.36088 | -696.704 | 696.968 | -121.3704 | 0.088224
Z1 | -0.090975 | 5.6193 | -5.9511 | 8.3717 | -729.918 | 755.685 | -128.3929 | -0.0050044
Z2 | -0.16741 | 5.6645 | -5.9616 | 2.195 | -732.331 | 736.48 | -126.3373 | -0.088976
Z3 | 0.16883 | 5.9236 | -5.5665 | 3.346 | -730.029 | 736.479 | -127.6328 | 0.099382