## Tuning
Warning
The differential rate needs to be the same polarity as the proportional gain.
The integrator gain needs to be the opposite polarity of the proportional gain.
The integrator gain needs to be < 5% FS.
The differential rate needs to be less then 10% of the proportional gain.
|  | x1 | x2 | y | z1 | z2 | z3
porportional gain |  | 95 | 90 | 45 | 65 | 40 | 45
differential gain |  | 0 | 0 | 0 | 0 | 0 | 0
integrator gain |  | 0 | 0 | 0 | 0 | 0 | 0
DO NOT ADJUST DITHER TO BE TOO HIGH. 1-5% SHOULD BE OK.
All DITHERS HERE ARE 1%

## SWController
|  |  | X1 | X2 | Y | Z1 | Z2 | Z3
|  | Pin Edge | 0.875 | 0.875 | 0.875 | 0.875 | 0.875 | 0.875
|  | Cylinder | 8.625 | 8.625 | 6.25 | 6.25 | 6.25 | 6.25
|  | Stroke | 5.3125 | 5.25 | 4.25 | 4.25 | 4.25 | 4.1875
| measured | total | 14.8125 | 14.75 | 11.375 | 11.375 | 11.375 | 11.3125
|  | true | 14.446 | 14.446 | 11.3172 | 11.01 | 11.01 | 11.01
|  | diff | -0.36647 | -0.30397 | -0.057767 | -0.36499 | -0.36497 | -0.30247
|  | in/LVDT | 0.27376 | 0.27318 | 0.13428 | 0.1352 | 0.13281 | 0.41118
|  | LVDT/in | 3.6529 | 3.6605 | 7.447 | 7.3963 | 7.5296 | 2.432
|  | LVDT/cmd | -0.10306 | -0.10385 | -0.10288 | -0.10247 | -0.10322 | -0.10256
|  | cmd/LVDT | -9.7035 | -9.6294 | -9.7204 | -9.7593 | -9.6878 | -9.7502 |  | -35.4456 | -35.2487 | -72.3883 | -72.1828 | -72.9455 | -23.7129
|  | offset | 12.9899 | 10.7147 | 4.1817 | 26.3461 | 26.6228 | 7.1724
|  | X1 | Slider | LVDT | X2 | Slider | LVDT | Y | Slider | LVDT | Z1 | Slider | LVDT | Z2 | Slider | LVDT | Z3 | Slider | LVDT
max |  |  | 75.05 | -7.7741 |  | 72.365 | -7.4499 |  | 74.089 | -7.6451
min |  |  | -70.464 | 7.2832 |  | -72.285 | 7.4453 |  | -72.435 | 7.4671
mid |  |  | 2.293 |  |  | 0.04 |  |  | 0.827
|  |  | 5 | -0.51109 |  | 5 | -0.5319 |  | 5 | -0.51058 |  | 5 | -0.50824 |  | 5 | -0.48059 |  | 5 | -0.53745
|  |  | 10 | -1.0249 |  | 10 | -1.057 |  | 10 | -1.0214 |  | 10 | -1.0217 |  | 10 | -0.99617 |  | 10 | -1.05
|  |  | 15 | -1.541 |  | 15 | -1.5752 |  | 15 | -1.5488 |  | 15 | -1.5349 |  | 15 | -1.5108 |  | 15 | -1.5643
|  |  | 20 | -2.0536 |  | 20 | -2.0954 |  | 20 | -2.0523 |  | 20 | -2.0439 |  | 20 | -2.0277 |  | 20 | -2.0751
|  |  | 25 | -2.5711 |  | 25 | -2.6139 |  | 25 | -2.5643 |  | 25 | -2.5581 |  | 25 | -2.5418 |  | -5 | 0.48718
|  |  | 30 | -3.0871 |  | 30 | -3.1337 |  | 30 | -3.0803 |  | 30 | -3.0708 |  | 30 | -3.0574 |  | -10 | 1.0017
|  |  | -5 | 0.52249 |  | -5 | 0.50017 |  | -5 | 0.52061 |  | -5 | 0.51652 |  | -5 | 0.555 |  | -15 | 1.5126
|  |  | -10 | 1.0336 |  | -10 | 1.0186 |  | -10 | 1.0345 |  | -10 | 1.0255 |  | -10 | 1.0701 |  | -20 | 2.0273
|  |  | -15 | 1.55 |  | -15 | 1.5428 |  | -15 | 1.5462 |  | -15 | 1.5389 |  | -15 | 1.5836
|  |  | -20 | 2.0679 |  | -20 | 2.063 |  | -20 | 2.0624 |  | -20 | 2.0535 |  | -20 | 2.1023
|  |  | -25 | 2.582 |  | -25 | 2.5767 |  | -25 | 2.5777 |  | -25 | 2.5656 |  | -25 | 2.6185
|  |  | -30 | 3.0972 |  | -30 | 3.096 |  | -30 | 3.0898 |  | -30 | 3.0785 |  | -30 | 3.1357
|  | y= | Ax | +B | y= | Ax | +B | y= | Ax | +B | y= | Ax | +B | y= | Ax | +B | y= | Ax | +B
|  |  | -0.10306 | 0.0053722 |  | -0.10385 | -0.017498 |  | -0.10288 | 0.0044586 |  | -0.10247 | 0.0033995 |  | -0.10322 | 0.037573 |  | -0.10256 | -0.016497
|  |  |  | DONE |  |  | DONE |  |  | DONE |  |  | DONE |  |  | DONE

## Actuator_PinLocations
| x1 |  | x2 |  | y |  | z1 |  | z2 |  | z3
| fixed | free | fixed | free | fixed | free | fixed | free | fixed | free | fixed | free
(x) | -19.184 | -5.4347 | -19.184 | -5.4347 | 0.079 | -0.1013 | -5.6232 | -5.6253 | 5.9788 | 6.0049 | 5.9788 | 6.0049
(y) | 4.8039 | 4.7978 | -4.8039 | -4.7978 | -7.6005 | 3.3364 | 0.0338 | 0.0477 | 4.8056 | 4.8093 | -4.8056 | -4.8093
(z) | -7.0262 | -2.594 | -7.0262 | -2.594 | -6.8945 | -3.9908 | -13.63 | -2.62 | -13.63 | -2.62 | -13.63 | -2.62
length | 14.446 |  | 14.446 |  | 11.3172 |  | 11.01 |  | 11.01 |  | 11.01

## calibration
X1 | Cmd | LVDT | Caliper | X2 | Cmd | LVDT | Caliper
| 0 | 0.0033976 | 2.135 |  | 0 | -0.01395 | 2.111
| 1 | -0.98994 | 1.893 |  | 1 | -1.0178 | 1.836
| 2 | -1.9837 | 1.589 |  | 2 | -2.0225 | 1.567
| 3 | -2.9771 | 1.325 |  | 3 | -3.0278 | 1.291
| 4 | -3.9694 | 1.051 |  | 4 | -4.0328 | 1.021
| 3 | -2.9754 | 1.329 |  | 3 | -3.0276 | 1.293
| 2 | -1.9824 | 1.603 |  | 2 | -2.0227 | 1.564
| 1 | -0.98839 | 1.86 |  | 1 | -1.0179 | 1.838
| 0 | 0.0053802 | 2.141 |  | 0 | -0.013028 | 2.112
| -1 | 0.99951 | 2.412 |  | -1 | 0.99223 | 2.386
| -2 | 1.9935 | 2.694 |  | -2 | 1.9971 | 2.662
| -3 | 2.9871 | 2.955 |  | -3 | 3.0017 | 2.939
| -4 | 3.982 | 3.23 |  | -4 | 4.0071 | 3.222
| -3 | 2.9877 | 2.96 |  | -3 | 3.0032 | 2.939
| -2 | 1.9939 | 2.688 |  | -2 | 1.9981 | 2.657
| -1 | 0.99942 | 2.408 |  | -1 | 0.99311 | 2.387
| 0 | 0.0060304 | 2.139 |  | 0 | -0.01193 | 2.119
|  | -0.27211 | 0.27376 |  |  | -0.27456 | 0.27318
|  | in/cmd | in/LVDT |  |  | in/cmd | in/LVDT
Y | Cmd | LVDT | Caliper | Z1 | Cmd | LVDT | Caliper
| 0 | 0.0016449 | 1.18 |  | 0 | -0.0018942 | 1.093
| 1 | -0.98804 | 1.044 |  | 1 | -0.99555 | 0.959
| 2 | -1.9823 | 0.911 |  | 2 | -1.9884 | 0.823
| 3 | -2.9767 | 0.777 |  | 3 | -2.9811 | 0.686
| 2 | -1.9855 | 0.911 |  | 2 | -1.9896 | 0.824
| 1 | -0.98996 | 1.044 |  | 1 | -0.9967 | 0.959
| 0 | 0.0041662 | 1.176 |  | 0 | -0.0031787 | 1.095
| -1 | 0.99865 | 1.304 |  | -1 | 0.98945 | 1.23
| -2 | 1.9935 | 1.439 |  | -2 | 1.9833 | 1.358
| -3 | 2.9878 | 1.584 |  | -3 | 2.9762 | 1.494
| -4 | 3.9848 | 1.718 |  | -4 | 3.9709 | 1.63
| -3 | 2.9918 | 1.573 |  | -3 | 2.9774 | 1.494
| -2 | 1.9958 | 1.44 |  | -2 | 1.9848 | 1.359
| -1 | 1.0014 | 1.305 |  | -1 | 0.99148 | 1.228
| 0 | 0.0059466 | 1.17 |  | 0 | -0.0019955 | 1.093
|  | -0.13356 | 0.13428 |  |  | -0.13428 | 0.1352
|  | in/cmd | in/LVDT |  |  | in/cmd | in/LVDT
Z2 | Cmd | LVDT | Caliper | Z3 | Cmd | LVDT | Caliper
| 0 | 0.087661 | 1.142 |  | 0 | -0.043786 | 1.121
| 1 | -0.9035 | 1.001 |  | 0.5 | -0.54622 | 0.92
| 2 | -1.8989 | 0.874 |  | 1 | -1.0459 | 0.72
| 3 | -2.8938 | 0.735 |  | 0.5 | -0.54433 | 0.94
| 2 | -1.9026 | 0.885 |  | 0 | -0.044964 | 1.15
| 1 | -0.9071 | 1.008 |  | -0.5 | 0.45692 | 1.333
| 0 | 0.088359 | 1.136 |  | -1 | 0.95512 | 1.542
| -1 | 1.0845 | 1.266 |  | -1.5 | 1.4554 | 1.757
| -2 | 2.0806 | 1.405 |  | -1 | 0.95623 | 1.542
| -3 | 3.0764 | 1.535 |  | -0.5 | 0.45601 | 1.327
| -2 | 2.0847 | 1.404 |  | 0 | -0.043967 | 1.12
| -1 | 1.089 | 1.267
| 0 | 0.092154 | 1.14
|  | -0.13221 | 0.13281 |  |  | -0.41143 | 0.41118
|  | in/cmd | in/LVDT |  |  | in/cmd | in/LVDT

## all you need
| in/cmd | in/LVDT
X1 | -0.27211 | 0.27376
X2 | -0.27456 | 0.27318
Y | -0.13356 | 0.13428
Z1 | -0.13428 | 0.1352
Z2 | -0.13221 | 0.13281
Z3 | -0.41143 | 0.41118
| ServoErr | SW Slider | LVDT offset
X1 | -0.014619 | 12.9899 | -1.3368
X2 | 0.070012 | 10.7147 | -1.1247
Y | 0.068505 | 4.1817 | -0.44009
Z1 | 0.022437 | 26.3461 | -2.7016
Z2 | -0.21193 | 26.6228 | -2.658
Z3 | 0.14077 | 7.1724 | -0.78511